## Metadata_new
all_Stand | Sconfocal_Stand | Pconfocal_Stand | Mphoton_Stand | Zstack_multiPoint_timeLapse_Stand | emissionWheel_Stand | WF_nolaser_Illumination | WF_laser_Illumination | Sconfocal_laser_Illumination | Sconfocal_LED_Illumination | Pconfocal_Illumination | Mphoton_Illumination | All_Wave | WF_filterCube_Wave | all_Optics | mag_Optics | transmitted_Optics | WF_Detection | Sconfocal_Detection | Pconfocal_Detection | Mphoton_Detection | all_Software | multiDim_Software | multiColor_Software | Z_stack_Software | timeLapse_Software | tile_Software | all_Sample | live_Sample | fixed_Sample | FP_Sample | dye_Sample | transfect_Sample | core_Ack
Microscope Stand manufacturer and Model | Scan unit Manufacturer and Model | Scan unit Manufacturer and Model | Scan unit Manufacturer and Model | Illumination Shutter Manufacturer and Model | Excitation/Emission filter wheel Manufacturer and Model | Light source manufacturer and model | Laser launch/combiner manufacturer and model | Laser launch/combiner manufacturer and model | Light source manufacturer and model | Laser launch/combiner manufacturer and model | Laser launch/combiner manufacturer and model | Filter manufacturer and product number | Filter cube(s) manufacturer and product number(s) | Objective manufacturer | Optovar or relay lens magnification | Contrast enhancing technique or brightfield | Camera manufacturer and model | Camera manufacturer and model | Detector type | Detector type (PMT, HyD, NDD) | Software manufacturer, name, and version | Order of experimental acquisition | Sequential, simultaneous, or triggered channel/color acquisition | Zstack focusing device | Time interval | Stitching algoritm | Sample holder type, manufacturer and product number | Imaging medium name, manufacturer and product number | Detail protocol: fixitive, concentration of fixitive, fixation conditions (buffers, time, temperature), blocking, binding and hybridization buffer composition, Ab manufacturer, lot number, concentration, probe concentration, binding or hybridization conditions (time, temperature, sequential/simultaneous) | Specific fluorescent protein variant | Organic dye name, manufacturer and product number | Transfection reagent, concentration or other method of expression | Acknowledge the core facilities that facilitated your research
***Type | Pinhole size | Scanning mechanism (galvo vs resonant) | Scanning mechanism (galvo vs resonant) | ***Illumination Shutter speed | Excitation/Emission filter wheel Location in the Lightpath | Light source type | Laser line/wavelength | Laser line/wavelength | LED wavelength | Tunable laser? | Tunable? | Filter center wavelength and bandwidth (FWHM), cut on or cut off wavelength |  | Objective correction |  | Condenser NA | Camera type | Camera type | Cathode type | Cathode type (multi-alkali, GaASP) | If custom, Author and appropiate citation | If custom macro: cite or make available. |  | Zstack range and step size |  |  | Coverslip grade | Additional Components/additives to the imaging medium | Mounting/imaging medium name, manufacturer and product number |  | Organic dye concentration and solvent |  | ***Check if specific equipment grants that funded the core facilities also need to be acknowledged (e.g., S10 Shared equipment grants)
***Commercial/commercial modified, custom modified | ***Pinhole spacing | Scan directionality | Scan directionality | Stage Manufacturer and Model | ***Excitation/Emission filter wheel filter change speed | ***Light source power output | Laser type | Laser type | ***Light source power output | Pulsed? If yes, pulse length | Pulsed? If yes, pulse length | Filter coating method |  | Objective magnification |  | ***Additional optics | ***Pixel size | ***Pixel size | Voltage | Voltage (Master Gain, HV, Gain) | ***Specific aquisition Modules/Macros/apps | [5 empty] | Coverslip coating (type, concentration, detailed protocol) | Environmental chamber manufacturer and model | ***Mounting/imaging medium RI if not specified and curing time.
***Upright or inverted | ***Number of disks | Scan rate or pixel dwell | Scan rate or pixel dwell | Linear encoded stage? |  |  | Laser modulation | Laser modulation |  | Laser line/wavelength | Laser line/wavelength | ***Additional filters manufacturer and model |  | Objective numerical aperture |  |  | ***Chip size | ***Chip size | Offset | Offset | State of the shutter during acquisition | [6 empty] | Temperature and control device
| ***Disk speed | Averaging or sum integration number | Averaging or sum integration number | ***Stage precision and speed |  |  | ***Laser power output | ***Laser power output |  | Laser type (Argon, solid state) | Laser type | ***If tunable wavelength selection, range of wavelengths detected |  | Specified immersion medium |  |  | Binning | Binning | Digital gain | Digital gain | [7 empty] | Gas concentration and control method
|  | ***Scan area | ***Scan area | Focusing device manufacterer and model | [5 empty] | Laser modulation | Laser modulation |  |  | ***Objective application |  |  | Bit Depth and associated gain | Bit Depth and associated gain | ***Photon counting mode | ***Photon counting mode | [7 empty] | Humidity conditions and control method
|  | ***Scan or frame size | ***Scan or frame size | Focusing device type | [5 empty] | Laser intensity or % transmission | Dispersion compensation? |  |  | ***Immersion medium manufacturer and product number (if used) |  |  | EM gain (if EMCCD used) | EM gain (if EMCCD used) | [9 empty] | If perfusion: perfusion conditions, hardware used
|  | Actual pixel or voxel size | Actual pixel or voxel size | ***Focusing device range | [6 empty] | ***Laser power output | [5 empty] | ***Pixel readout rate | ***Pixel readout rate
|  | Pinhole diameter | Pinhole diameter if used | ***Focusing device speed | [12 empty] | ***Dynamic range | ***Dynamic range
|  |  |  | ***Focusing device precision | [12 empty] | ***Readout noise | ***Readout noise
|  |  |  | Hardware-based Focus maintenance device manufacturer and model | [12 empty] | ***If sCMOS, rolling or global shutter | ***If sCMOS, rolling or global shutter
Software based focusing maintenance set up (wavelength, range, step size, algorithm)

## master
Metadata | Example | Scope_possible | Category_when_printed | Gsheets_map
Microscope Stand manufacturer and Model | Leica DMI8; Nikon Ti2 | YES | all_Stand | Manufacturer-Model
***Type | Compound; Stereo | MAYBE | all_Stand
***Commercial/commercial modified, custom modified |  | MAYBE | all_Stand
***Upright or inverted |  | MAYBE | all_Stand
Scan unit Manufacturer and Model | Yokogawa CSU-W1 | YES | Sconfocal_Stand | Scan_unit_MF
Pinhole size | 50 um; 100 um | YES | Sconfocal_Stand | Pinhole_diameter
***Pinhole spacing | 253 um | MAYBE | Sconfocal_Stand
***Number of disks | Single disk; dual disk | MAYBE | Sconfocal_Stand
***Disk speed | 500 rpm | MAYBE | Sconfocal_Stand
Scan unit Manufacturer and Model | Zeiss LSM 780 | YES | Pconfocal_Stand | Scan_unit_MF
Scanning mechanism (galvo vs resonant) | Galvo scanner; Resonant scanner | YES | Pconfocal_Stand | Scanning_mechanism_opts
Scan directionality | unidirectional; bidirectional | NO | Pconfocal_Stand
Scan rate or pixel dwell | 1.58 usec/pixel; 2 usec/pixel | NO | Pconfocal_Stand
Averaging or sum integration number | no averaging; averaging of 4 | NO | Pconfocal_Stand
***Scan area | 100 um x 100 um | NO | Pconfocal_Stand
***Scan or frame size | 1024 x1024 pixels; 900 x 900 pixels | NO | Pconfocal_Stand
Actual pixel or voxel size | 1.58 usec/pixel; 2 usec/pixel | NO | Pconfocal_Stand
Pinhole diameter | 123 um; 1 A.U. | YES | Pconfocal_Stand | Pinhole_diameter
Scan unit Manufacturer and Model | Zeiss LSM 780 | YES | Mphoton_Stand | Scan_unit_MF
Scanning mechanism (galvo vs resonant) | Galvo scanner; Resonant scanner | YES | Mphoton_Stand | Scanning_mechanism_opts
Scan directionality | unidirectional; bidirectional | NO | Mphoton_Stand
Scan rate or pixel dwell | 1.58 usec/pixel; 2 usec/pixel | NO | Mphoton_Stand
Averaging or sum integration number | no averaging; averaging of 4 | NO | Mphoton_Stand
***Scan area | 100 um x 100 um | NO | Mphoton_Stand
***Scan or frame size | 1024 x1024 pixels; 900 x 900 pixels | NO | Mphoton_Stand
Actual pixel or voxel size | 1.58 usec/pixel; 2 usec/pixel | NO | Mphoton_Stand
Pinhole diameter if used | 123 um; 1 A.U. | NO | Mphoton_Stand
Illumination Shutter Manufacturer and Model | LUDL MAC6000; Unibliz VMC-D1 | YES | Zstack_multiPoint_timeLapse_Stand | Illumination_Shutter_MF
***Illumination Shutter speed | 35 msec | NO | Zstack_multiPoint_timeLapse_Stand
Stage Manufacturer and Model | Marzhauser; Prior; ASI (Applied Scientific Instrumentation) | YES | Zstack_multiPoint_timeLapse_Stand | Stage_MF
Linear encoded stage? | Linear encoded; manual stage | NO | Zstack_multiPoint_timeLapse_Stand
***Stage precision and speed | 0.1 um precision, 25 mm/sec speed | NO | Zstack_multiPoint_timeLapse_Stand
Focusing device manufacterer and model | Mad City Labs Nano CZ-500 piezo; Nikon Ti Z drive | YES | Zstack_multiPoint_timeLapse_Stand | Stage_MF
Focusing device type | Nosepiece, piezo | YES | Zstack_multiPoint_timeLapse_Stand | Focusing_Device_MF_opt
***Focusing device range | 250 um; 500 um | NO | Zstack_multiPoint_timeLapse_Stand
***Focusing device speed | 380 Hz 20%; 2.5 mm/sec | NO | Zstack_multiPoint_timeLapse_Stand
***Focusing device precision | 0.4 nm | NO | Zstack_multiPoint_timeLapse_Stand
Hardware-based Focus maintenance device manufacturer and model | Zeiss Definite Focus; Nikon Perfect Focus System | YES | Zstack_multiPoint_timeLapse_Stand | Focusing_maintenence_hardware
Software based focusing maintenance set up (wavelength, range, step size, algorithm) | Software based transmitted light 2 pass, 100 um range, 150 nm step size progressive algorithm was used | MAYBE | Zstack_multiPoint_timeLapse_Stand
Excitation/Emission filter wheel Manufacturer and Model | LUDL MAC500, Sutter Lambda 10-3 | YES | emissionWheel_Stand | Ex_Filter_wheel_MF
Excitation/Emission filter wheel Location in the Lightpath | in front of the camera; at a camera port; in the infinity space | YES | emissionWheel_Stand | Em_Filter_wheel_MF_and_pos
***Excitation/Emission filter wheel filter change speed |  | NO | emissionWheel_Stand
Light source manufacturer and model | Excelitas X-Cite 120Q; SOLA SE Light Engine | YES | WF_nolaser_Illumination | Light_source_nonLaser
Light source type | LED; metal halide | NO | WF_nolaser_Illumination
***Light source power output | 60 mW; 1W | MAYBE | WF_nolaser_Illumination
Laser launch/combiner manufacturer and model | Toptica iChrome MLE | YES | WF_laser_Illumination | Laser_launch_MF
Laser line/wavelength | 405 nm; 488 nm; 561 nm | MAYBE | WF_laser_Illumination | Laser_lines
Laser type | Gas; Solid State | MAYBE | WF_laser_Illumination | Laser_lines
Laser modulation | AOM (Acusto-Optical Modulator); directly modulated | MAYBE | WF_laser_Illumination
***Laser power output | 10 mW; 1W | YES | WF_laser_Illumination | Laser_power
Laser launch/combiner manufacturer and model | Toptica iChrome MLE | YES | Sconfocal_laser_Illumination | Laser_launch_MF
Laser line/wavelength | 405 nm; 488 nm; 561 nm | NO | Sconfocal_laser_Illumination | Laser_lines
Laser type | Gas; Solid State | MAYBE | Sconfocal_laser_Illumination | Laser_lines
Laser modulation | AOM (Acusto-Optical Modulator); directly modulated | MAYBE | Sconfocal_laser_Illumination | Laser_Modulation
***Laser power output | 10 mW; 1W | YES | Sconfocal_laser_Illumination | Laser_power
Light source manufacturer and model | Excelitas X-Cite 120Q; SOLA SE Light Engine | YES | Sconfocal_LED_Illumination | Light_source_nonLaser
LED wavelength | 405 nm; 488nm; 647 nm | NO | Sconfocal_LED_Illumination
***Light source power output | 10 mW; 1W | NO | Sconfocal_LED_Illumination
Laser launch/combiner manufacturer and model | Toptica iChrome MLE | YES | Pconfocal_Illumination | Laser_launch_MF
Tunable laser? | Tunable Lasos Argon laser; WLL2 | MAYBE | Pconfocal_Illumination
Pulsed? If yes, pulse length | Pulsed, pulse width: 2 ps; Continuous Wave (i.e., CW) | MAYBE | Pconfocal_Illumination
Laser line/wavelength | 405 nm; 488nm; 647 nm | YES | Pconfocal_Illumination | Laser_lines
Laser type (Argon, solid state) | Argon; solid state | YES | Pconfocal_Illumination | Laser_lines
Laser modulation | AOM (Acusto-Optical Modulator); directly modulated | YES | Pconfocal_Illumination | Laser_Modulation
Laser intensity or % transmission | 50 mW laser set to 53% transmission | NO | Pconfocal_Illumination
Laser launch/combiner manufacturer and model | Toptica iChrome MLE | YES | Mphoton_Illumination | Laser_launch_MF
Tunable? | Tunable MaiTai | NO | Mphoton_Illumination
Pulsed? If yes, pulse length | Pulsed, pulse width: 2 ps; Continuous Wave (i.e., CW) | NO | Mphoton_Illumination
Laser line/wavelength | 760 nm; 1030nm | YES | Mphoton_Illumination | Laser_lines
Laser type | Argon; solid state | YES | Mphoton_Illumination | Laser_lines
Laser modulation | AOM (Acusto-Optical Modulator); directly modulated | NO | Mphoton_Illumination | Laser_Modulation
Dispersion compensation? | Automated dispersion compensation Deep See | NO | Mphoton_Illumination
***Laser power output | Peak output: 1W | YES | Mphoton_Illumination | Laser_power
Filter manufacturer and product number | Chroma, Catalog# 49002; Semrock LED-DA/FI/TR/Cy5/Cy7 | YES | All_Wave | Filter_wheel_opts
Filter center wavelength and bandwidth (FWHM), cut on or cut off wavelength | 405/488/640/670 nm; 470/40m; 480/40x | YES | All_Wave | Filter_CWL_FWHM
Filter coating method | Hard spluttered; soft coated | NO | All_Wave
***Additional filters manufacturer and model | Neutral Density; Notch | YES | All_Wave | Other_filters
***If tunable wavelength selection, range of wavelengths detected | 490 nm; 488/640/670 nm | NO | All_Wave
Filter cube(s) manufacturer and product number(s) | Chroma, Catalog# 49002; Semrock LED-DA/FI/TR/Cy5/Cy7 | YES | WF_filterCube_Wave | Filter_cube_opts
Objective manufacturer | Olympus; Zeiss | NO | all_Optics
Objective correction | Plan Apo; Plan Fluor | NO | all_Optics
Objective magnification | 20X; 10X | NO | all_Optics
Objective numerical aperture | 0.45 N.A; 1.4 N.A. | NO | all_Optics
Specified immersion medium | Air; oil | NO | all_Optics
***Objective application | DIC; Phase; IR; UV | NO | all_Optics
***Immersion medium manufacturer and product number (if used) | Zeiss Immersol 518F; Nikon Silicone immersion oil | NO | all_Optics
Optovar or relay lens magnification | Zeiss 2x Optovar, #431008-9903-000 | NO | mag_Optics
Contrast enhancing technique or brightfield | Phase; DIC | NO | transmitted_Optics
Condenser NA | 0.45 N.A. | NO | transmitted_Optics
***Additional optics | Analyzer; Polarizer | NO | transmitted_Optics
Camera manufacturer and model | Teledyne Photometrics Prime BSI; Andor Zyla 4.2plus; Hamamatsu Flash 4.0 v3 | YES | WF_Detection | Camera_MF
Camera type | CCD; CMOS | YES | WF_Detection | Camera_type
***Pixel size | 6.5 x 6.5 um; 13 x 13 um | YES | WF_Detection | Camera_pixel_size
***Chip size | 512 x 512 pixels; 2048 x 2048 pixels | MAYBE | WF_Detection
Binning | 2x2 binning | NO | WF_Detection
Bit Depth and associated gain | 12 bit gain 4; 16 bit | YES | WF_Detection | Bit_depth
EM gain (if EMCCD used) | Gain = 100 | NO | WF_Detection
***Pixel readout rate | 10 MHz; 200 MHz | YES | WF_Detection | Camera_readout_rate
***Dynamic range | 2.125 | MAYBE | WF_Detection
***Readout noise | 6^-10e | MAYBE | WF_Detection
***If sCMOS, rolling or global shutter | Rolling; Overlap; Global | MAYBE | WF_Detection
Camera manufacturer and model | Teledyne Photometrics Prime BSI; Andor Zyla 4.2plus; Hamamatsu Flash 4.0 v3 | YES | Sconfocal_Detection | Camera_MF
Camera type | CCD; CMOS | MAYBE | Sconfocal_Detection | Camera_type
***Pixel size | 6.5 x 6.5 um; 13 x 13 um | NO | Sconfocal_Detection | Camera_pixel_size
***Chip size | 512 x 512 pixels; 2048 x 2048 pixels | NO | Sconfocal_Detection
Binning | 2x2 binning | NO | Sconfocal_Detection
Bit Depth and associated gain | 12 bit gain 4; 16 bit | YES | Sconfocal_Detection | Bit_depth
EM gain (if EMCCD used) | Gain = 100 | NO | Sconfocal_Detection
***Pixel readout rate | 10 MHz; 200 MHz | MAYBE | Sconfocal_Detection | Camera_readout_rate
***Dynamic range | 2.125 | MAYBE | Sconfocal_Detection
***Readout noise | 6^-10e | MAYBE | Sconfocal_Detection
***If sCMOS, rolling or global shutter | Rolling; Overlap; Global | MAYBE | Sconfocal_Detection
Detector type (PMT, HyD, NDD) | PMT, HyD, NDD | YES | Pconfocal_Detection | Confocal_detector_opts
Cathode type (multi-alkali, GaASP) | Multi-alkali, GaASP | NO | Pconfocal_Detection
Voltage (Master Gain, HV, Gain) | 632 V; 244V | NO | Pconfocal_Detection
Offset | -5V; 1% | NO | Pconfocal_Detection
Digital gain | 1.0; 1.6 | NO | Pconfocal_Detection
***Photon counting mode | Operated in Photon Counting Mode | NO | Pconfocal_Detection
Software manufacturer, name, and version | Zen Blue v. 1.0; NIS Elements v. 1.4 | YES | all_Software | Software
If custom, Author and appropiate citation | Author Name; Github or other code repository | NO | all_Software
***Specific aquisition Modules/Macros/apps | HCA Fixed JOBS; custom JOBS; ZEN Experiment Designer | NO | all_Software
State of the shutter during acquisition | Shutter was open during acquisition; Shutter closed during acquisition | NO | all_Software
Order of experimental acquisition | First, a Z-stack was captured, close shutter, then moved to next x,y stage position, open shutter, trigger camera, collect next Z-stack | NO | multiDim_Software
If custom macro: cite or make available. |  | NO | multiDim_Software
Sequential, simultaneous, or triggered channel/color acquisition | Images were acquired sequentially; images were acquired in simultaneous channels | NO | multiColor_Software
Zstack focusing device | Nikon Ti Z drive | YES | Z_stack_Software | Focusing_Device_MF_opt
Zstack range and step size | 20 um range 1 um step size | NO | Z_stack_Software
Time interval | Images were acquired every 30 seconds | NO | timeLapse_Software
Stitching algoritm | NIS Optimal path stitching algoritm | NO | tile_Software
Sample holder type, manufacturer and product number | Nikon universal stage insert; Prior chambered coverglass slide holder H236 | MAYBE | all_Sample
Coverslip grade | #1.5; #1.0 | NO | all_Sample
Coverslip coating (type, concentration, detailed protocol) | Poly-L-lysine coated coverslips | NO | all_Sample
Imaging medium name, manufacturer and product number | Imaged in milliQ water; imaged in ACSF (recipe) | NO | live_Sample
Additional Components/additives to the imaging medium | Nocodozole (Sigma M1404); Phenol Red | NO | live_Sample
Environmental chamber manufacturer and model |  | YES | live_Sample | Environmental_chamber_MF
Temperature and control device | Passive temperature control | NO | live_Sample
Gas concentration and control method |  | NO | live_Sample
Humidity conditions and control method | 50% humidity | NO | live_Sample
If perfusion: perfusion conditions, hardware used | Perfused in room temperature ASCF exchanged at a rate of 10 mL per minute | NO | live_Sample
Detail protocol: fixitive, concentration of fixitive, fixation conditions (buffers, time, temperature), blocking, binding and hybridization buffer composition, Ab manufacturer, lot number, concentration, probe concentration, binding or hybridization conditions (time, temperature, sequential/simultaneous) |  | NO | fixed_Sample
Mounting/imaging medium name, manufacturer and product number | Thermofisher Prolong Gold Antifade Mountant P10144 | NO | fixed_Sample
***Mounting/imaging medium RI if not specified and curing time. | 1.4 refractive index; 48 hour curing time | NO | fixed_Sample
Specific fluorescent protein variant | eGFP, tdTomato | NO | FP_Sample
Organic dye name, manufacturer and product number | JF649 (Janelia Farm 649); MitoTracker Red | NO | dye_Sample
Organic dye concentration and solvent | 50 nM | NO | dye_Sample
Transfection reagent, concentration or other method of expression | Promega FuGENE transfection reagent; Thermo Fisher Lipofectamine | NO | transfect_Sample
Acknowledge the core facilities that facilitated your research | The authors gratefully acknowledge the MicRoN (Microscopy Resources on the North Quad) Core for their support and assistance in this work. | YES | core_Ack | Acknowledgements_grants
***Check if specific equipment grants that funded the core facilities also need to be acknowledged (e.g., S10 Shared equipment grants) | S10 grant: Shared Instrumentation Grant 1S10# funded the instrument in which the data was collected. | YES | core_Ack | Instrumentation_grant